## Slide 1: Introduction to (deep, dark world) of calibration
Joe Callingham (ASTRON)
Kenyan Radio Astronomy School,
Nairobi, Kenya
29th of May 2018

## Slide 2: VLBI
EVN made of

## Slide 3: Calibration is to fix this mess…

## Slide 4: Some of the key features

## Slide 5: Lack of knowledge?
We want to parameterize our knowledge of the system.
We do this by the radio interferometry measurement equation (RIME) which relates the observed (perturbed) visibility to the ideal (unperturbed, “true”) visibility.
The Jones matrix encodes everything that “happens” to the signal from source to correlator
Note this assumes calibration parameters should be antenna-based (we will see later that they can be baselines dependent)

## Slide 6: CASA’s formalisation of RIME

## Slide 7: Calibration Strategy
Three levels:
  Primary Calibration: use of a “known” standard source to determine timeand direction-independent quantities e.g. Bpq
  Secondary Calibration: estimate local time-dependent conditions with nearby calibrator
  Self-Calibration: use of the target field itself to determine highly time dependent quantities, e.g. the phase of Gpq

## Slide 8: Calibration Strategy

## Slide 9: Choosing Calibrators
Primary/secondary calibrators should have:
  Excellent positions (for astrometry)
  Proper source size (“just compact enough”) - standard calibrator lists
  Compact enough to be unresolved on the longest baselines but not so compact that the source is variable
Well-understood flux density (for flux scale) and spectral shape (for bandpass)
For polarization calibration: well understood polarimetric properties (including Faraday rotation measure, where appropriate)

## Slide 10: System Temperature Calibration

## Slide 11: Bandpass calibration

## Slide 12: Example Delay Calibration

## Slide 13: Example phase calibration

## Slide 14: Example Amplitude Calibration

## Slide 15: Possible Cal Statergy(*)
Load data
Inspect logs, flag bad data, flag for shadowing (look outside!)
Calibrate primary calibrator (bandpass, gain, leakage)
Inspect solutions
transfer bandpass, gain amplitude (flux scale) and leakage to secondary
Calibrate secondary calibrator (gain)
inspect solutions
transfer bandpass, gains, and leakage to target
Inspect target for bad data, flag if necessary
Image, deconvolve, and selfcal if necessary

## Slide 16: Conclusions and tips
Don’t be afraid to flag bad data! Corrupted data can reduce the image quality significantly.
Visualize your data!
We will look at more complicated calibration strategies next lecture, with a look at closure phases, fringe fitting, and self-calibration
Thanks John McKean and George Heald