## Slide 1: Advanced Radio Interferometric Imaging
Image courtesy of NRAO/AUI
Joe Callingham - Credits: J. Radcliffe, A. Offringa (ERIS 2017)

## Slide 2: Introduction
Topics discussed:
Recap of CLEAN
When to use multi-scale or other deconvolution methods
The effect of and solution to w-terms
Multi-term deconvolution
Self-calibration using CLEAN components
Primary beam correction
Mosaicing
Direction-dependent effects during imaging

## Slide 3: Introduction
After calibration the visibilities are represented by (+ errors):
interferometer’s geometrical vector
sky position
sky brightness (our ‘image’)
Want to calculate from
Nb: notation is essentially the same as coordinates used in the prev. talks

## Slide 4: Introduction
If we have a small field of view (l~0, m~0) then w→0:
The relationship between and is?

## Slide 5: The ‘Dirty’ Image
Example VLA-A data targeting M82

## Slide 6: Deconvolution
The Högbom algorithm (1974)
Find the strength and position of the brightest peak.
Subtract the dirty beam x peak strength x loop gain/damping factor position of the peak, the dirty beam B multiplied by the peak strength and a damping factor (usually termed the loop gain).
Go to 1. unless any remaining peak is below some user-specified level or number of interations reached.
Convolve the accumulated point source model with an idealized `CLEAN' beam (usually an elliptical Gaussian fitted to the central lobe of the dirty beam).
Add the residuals of the dirty image to the `CLEAN' image.

## Slide 7: HÖGBoM CLEAN in Action
Hogbom CLEANED image

## Slide 8: CLEAn IMAGE & MODEL
Hogbom CLEANED model

## Slide 9: The many forms of CLEAN
Maximum Entropy Method
Clark
Clark-Stokes

## Slide 10: Deconvolving diffuse structure
Improved algorithm by Cornwell (2008) : “multi-scale clean”
Fits small smooth Gaussian kernels (and delta functions) during a Högbom CLEAN iteration
Implemented in CASA clean & tclean. Advised to use pixel scales corresponding to orders of the dirty beam size and avoid making scale too large compared to the image width/lowest spatial frequency.
E.g. For example, if the synthesized beam is 10" FWHM and cell=2", try multiscale = [0,5,15]
CASA tclean
CASA clean

## Slide 11: Multi-scale CLEAN
Multi-scale CLEANED image

## Slide 12
Multi-scale CLEAN
Multi-scale CLEANED model

## Slide 13: Wide-field imaging
2D Fourier Transform does not hold for new sensitive, wide-band, wide-field arrays
Non co-planar baselines becomes a problem i.e. l,m,w >> 0
Three-dimensional visibility fuction can be transformed to a three-dimensional image volume - this is not physical space since , & are direction cosines.
The only non-zero values of I lie on the surface of a sphere of unit radius defined by

## Slide 14: Wide-field imaging
So how do we achieve this? Two solutions available:
Faceting - split the field into multiple images and stitch them together
w-projection - most used solution, effectively performs the above to recover
Both available in CASA!
The sky brightness consisting of a number of discrete sources are transformed onto the surface of this sphere.
The two-dimensional image is recovered by projection onto the tangent plane at the pointing centre

## Slide 15
i. FACETING
Takes advantage of the small field approximation (l,m~0) so the image sphere is approximated by pieces of many smaller tangent planes.
Within each sub-field, standard two-dimensional FFTs may be used.
Errors increase quadratically away from the centre of each sub-field, but these are acceptable if enough sub-fields are selected.
Facets can be selected so as to cover known sources.
Facets may overlap allowing complete coverage of the primary beam
CASA clean implementation

## Slide 16: ii. w-PROJECTION
Very dependent on zenith angle, co-planarity of array, field of view and resolution.
Convolution theorem no longer works when w-terms present.
CLEAN assumes constant PSF, but PSF changes (slightly) over the image.
Solved with Cotton-Schwab algorithm (Schwab 1984) (used in CASA automatically).
Cornwell et al. 2011

## Slide 17: ii. w-PROJECTION
The Cotton-Schwab + w-projection algorithm:
Make initial dirty image & central PSF - Perform minor iterations:
  Find peak
  Subtract scaled PSF at peak with small gain
  Repeat until highest peak ~80-90% decreased
2) Major iteration: ‘Correct’ residual
  Predict visibility for current model
  Subtract predicted contribution and re-image
CASA clean
implementation

## Slide 18
Source: Away from the pointing centre
No w-projection
w-projection
Small field approximation breaks and you need w-projection!
w-PROJECTION

## Slide 19
MULTI-FREQUENCY SYNTHESIS
Multi-frequency synthesis (MFS) means gridding different frequencies on the same uv grid
Conway & Sault (1995)

## Slide 20
MULTI-FREQUENCY SYNTHESIS

## Slide 21: Multi-Frequency Deconvolution
Similar but not the same! (same name often used). Also known as multi-term deconvolution (as in CASA).
Takes spectral variation into account during deconvolution
Flux
Density
Frequency
Assumed flat spectrum
Actual source spectrum

## Slide 22
Multi-Frequency Deconvolution
represents the sky emission in terms of a Taylor series about a reference frequency:
A power model is used to describe the spectral dependence of the sky. One practical choice is a power law with emission.
Useful for wideband, sensitive imaging. Incorporated in CASA in combination with multi-scale CLEAN as ‘mtmfs’

## Slide 23
Compressed Sensing
Recent focus on deconvolution using ‘Compressed Sensing’ (abbrev. CS – but CS can mean ‘Cotton-Schwab’ too)
CS methods assume the sky is 'sparse' (“solution matrix is sparse in some basis”)
Minimizes “L1-norm” (= abs sum of CLEAN components)
Högbom clean is actually (almost) a compressed sensing method called “Matching Pursuit”
CS considers MP to be non-ideal... but radio data is not the perfect CS case: Calibration errors, w-terms

## Slide 24
Compressed Sensing
Source structure looks like (Hogbom cleaned):

## Slide 25
Compressed Sensing
Model using CS:

## Slide 26
Compressed Sensing
Model using multiscale:

## Slide 27
Compressed sensing does not work well with calibration artefacts
Multi-scale is more robust
On well-calibrated data:
CS gives more accurate model But residuals don't improve much
Not implemented in CASA (only available in specialised LOFAR image (AWImagerCS) or stand-alone packages e.g. Purify
Compressed Sensing

## Slide 28: Self-calibration using CLEAN
Self-calibration recap:
Image,
de-convolve,
create model
Given:
Use model to calibrate gain factors
(phase or amp)
Replace
with
And.. repeat until model/solution converges!

## Slide 29: Self-calibration using CLEAN
Clean components can be used as calibration model
Often applied as:
Phase calibration
Shallow CLEAN
Phase calibration
Deep CLEAN
Amplitude & phase calibration
Deep CLEAN
(avoid CLEAN bias)

## Slide 30
Self-calibration using CLEAN
ALMA SV Data for IRAS16293 Band 6

## Slide 31: Primary beam correction
Correction is required for the antenna response
This is called “primary beam” correction (as opposed to the synthesized beam / psf )
For dishes, the primary beam is ~constant but can be very complex away from the FWHM.
To correct for: multiply final image with the inverse beam!
Scalar for total brightness, matrix for polarized

## Slide 32
Primary beam correction
Complex sidelobe structure + asymmetries!
Knockin primary beam holographic scan

## Slide 33
Primary beam correction
Primary beam corrected
JVLA+MERLIN image of GOODS-N
Note the increased noise level towards the edge of the field

## Slide 34
Variable primary Beams
Primary beam of arrays can vary with time and frequency!
Has to be accounted for during cleaning and primary beam correction if imaging the whole primary beam (CASA has this for the JVLA + ALMA - VLBI arrays don’t image the pb often!)
Notes: Left JVLA beam w. changing dec
Right: simulated SKA beam w. changing frequency!

## Slide 35
Mosaicing
What if this is our primary beam and we want to see the FR-I galaxy too?

## Slide 36
Mosaicing
We can use multiple pointings and combine them with correct weighting

## Slide 37
Mosaicing
To create the mosaiced image
Need to weight with 1/ = (primary beam)2 or

## Slide 38
Topics discussed:
CLEAN
When to use Multi-scale or other deconvolution methods
The effect of and solution to w-terms
Multi-term deconvolution
Self-calibration using CLEAN components
Primary beam correction
Mosaicing
Direction-dependent effects during imaging
SUMMARY